## E-Procurement Schedule,
E-Procurement Schedule
Name of the work:- Construction of 4 No.s of 33KV Bays Proposed at 220/33 KV Ghanapur EHT SS, 1No.s of 33KV Bays Proposed at 132/33 KV Malkaram EHT SS, in Keesara Division of Habsiguda Circle.(WBS.NO. X-2024-14-04-01-02-001)
S.No | SAP Code | Estimate Quantity (Only figures) | Item Detailed Specification Description | Work Type eg., Earth Work, Electrical works..etc., (Upto 200 Characters) | Item Short Description | APSS/Morth CI.Number (Upto 200 characters) | Rate INR upto 2 Decimals | UOM (upto 50 Characters) | Amount INR (Upto 2 Decimals)
1 | SWR10392 | 10 | Erection of 33 KV AB Switch including alignment and earthing | Electrical work | Erection of 33kv ABSwitch incl earthing | As per relevent standard specification | 4500 | EA | 45000
2 | SWR10396 | 5 | Erection of 33 KV LAS station/Line type including earthing | Electrical work | Erect of 33kv LA stn type incl earthing | As per relevent standard specification | 880 | SET | 4400
3 | SWR10198 | 8 | LOADING of 33 KV VCBs&Panel boards | Civil work | LOADING of 33 KV VCBs&Panel boards | As per relevent standard specification | 1024 | EA | 8192
4 | SWR10516 | 8 | UnLOADING of 33 KV VCBs&Panel boards | Civil work | UNLOADING of 33 KV VCBs&Panel boards | As per relevent standard specification | 1044.48 | EA | 8355.84
5 | SWR11861 | 8 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) Above 10 Km and upto 20 Km with Lorry for each trip | Tranportation | Transport of Cond Drum,VCBs >10 & <20Km | As per relevent standard specification | 3299.7 | EA | 26397.6
6 | SWR10206 | 4 | LOADING of MS Channel, Angles,Flats&Rods | Civil work | LOADING of MS Channel,Angles,Flats&Rods | As per relevent standard specification | 221 | TO | 884
7 | SWR10524 | 4 | UNLOADING of MS Channel, Angles,Flats&Rod | Civil work | UNLOADING of MS Channel,Angles,Flats&Rod | As per relevent standard specification | 185 | TO | 740
8 | SWR10131 | 4 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading )10km | Tranportation | TRANSPORT OF STEEL UPTO 10KM | As per relevent standard specification | 339.66 | TO | 1358.64
9 | SWR23224 | 24 | Excavate-Pit for 33KV VCB | Civil work | Excavate-Pit for 33KV VCB | As per relevent standard specification | 331 | M3 | 7944
10 | SWR20685 | 30 | Cement concrete 1:3:6 ration with 40 MML HBG metal including the cost of all materials and labour complete 1.8 x 1.8 x 0.75 cum for VCB Plinth | Civil work | Cement concrete with 40MM metal VCB plin | As per relevent standard specification | 5160 | M3 | 154800
11 | SWR10862 | 32 | Plastering 2 Coats,20/16mm(1:6)(1:4) | Civil work | Plastering 2 coats, 20/16 mm (1:6)/(1:4) | As per relevent standard specification | 373 | M2 | 11936
12 | SWR12334 | 5 | Painting of coping with two coats of white cement including cost of paint & conveyance charges for PTR/VCB plinths | Civil work | Paint-Coping 2 Coats White Cement incl. | As per relevent standard specification | 160 | EA | 800
13 | SWR10460 | 5 | Erection of 33kv VCB with control panel | Electrical work | Erection of 33kv VCB | As per relevent standard specification | 12500 | EA | 62500
14 | SWR10399 | 5 | Erection of 33kv CT s | Electrical work | Erection of 33kv CT s | As per relevent standard specification | 1079 | SET | 5395
15 | SWR10934 | 5 | Erection of 33kV Twin feeder control & Relay panel in the control room duly mounting them on channels and grouting them with foundation bolts excluding cost of channels & foundation bolts | Electrical work | Erection of 33kV Twin feeder C&R panel. | As per relevent standard specification | 1729 | EA | 8645
16 | SWR11039 | 17.55 | Excavation of pits 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") in hard rock not requiring blasting. (In hard murram / rock boulders) | Civil work | Exca Hard pit w/o blast 0.76X0.76X1.83M | As per relevent standard specification | 928 | EA | 16286.4
17 | SWR10356 | 17.55 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. | Civil work | Mass concreting of supports incl. cement | As per relevent standard specification | 6579 | M3 | 115461.45
18 | SWR10917 | 100 | Labour for Fixing of all types of clamps | Electrical work | Labour for Fixing of all types of clamps | As per relevent standard specification | 65 | EA | 6500
19 | SWR11879 | 11500 | Laying of 4 core/10 core 2.5 sq. mm.Copper control cable in aready excavation trench including cost of providing single compress glands at both ends | Electrical work | Lay-4C/10C 2.5Sqmm Control Cable | As per relevent standard specification | 27 | M | 310500
20 | SMR23225 | 0.75 | Supply of Moose Conductor | supply of material | S-Moose Conductor | As per relevent standard specification | 375155 | KM | 281366.25
21 | SMR12099 | 30 | Supply of I Hook | supply of material | Supply- I Hook | As per relevent standard specification | 158 | EA | 4740
22 | SWR12099 | 30 | Erection of I Hook | Electrical work | Erection- I Hook | As per relevent standard specification | 55 | EA | 1650
23 | SMR40023 | 30 | Supply of CT stud clamps with hot dip galvanised bolts and nuts suitable for zebra / Panther conductor on one side and 28/30/40 mm CT stud on other side with stud size for single zebra / panther (4 bolted) with bimetallic sleeve for carrying 800 A | supply of material | Sup CT stud clamps 1Zebra/Panth for 800A | As per relevent standard specification | 399 | EA | 11970
24 | SMR40040 | 30 | Supply of U-Bolts 16 mm | supply of material | Sup U-Bolts 16 mm | As per relevent standard specification | 37 | EA | 1110
25 | SWR10882 | 215 | Hoisting of Insulators and hardware, stretching the conductor and stringing of 33 kV bus comprising of three phases with Twin Zebra/Panther conductor to a tension of 900kgs including fixing of spacer clamps.(Bus section of 4.5mt) | Electrical work | Hoisting of Insl. 2 Zebra/Phanther 33kV | As per relevent standard specification | 1302 | EA | 279930
26 | SWR10883 | 220 | Hoisting of Insulators and hardware, stretching the conductor and stringing of 11 kV bus comprising of three phases with Twin Zebra/Panther conductor to a tension of 900kgs including fixing of spacer clamps.(Bus section of 3.5mt) | Electrical work | Hoisting of Insl. 2 Zebra/Phanther 11kV | As per relevent standard specification | 891 | EA | 196020
27 | SWR10860 | 40 | Supply & spreading of 20mm machine crushed metal (HBG) including cost of conveneyance of all materials, labour charges etc complete for finished item of work and directed by the engineer incharge | Civil work | Supply & Spreading of 20mm HBG metal | As per relevent standard specification | 2113 | M3 | 84520
28 | SWR33054 | 30 | Supply and Filling with stone dust in basement with 150mm thick layers incldg cost & conveyance all materials watering,consolidation etc complete for finished item of work. | Civil work | S&Filling with Borrowed Stone Dust | As per relevent standard specification | 1062 | M3 | 31860
29 | SWR33015 | 125 | Excavation in Ordinary Soil | Civil work | Excavation in Ordinary Soil | As per relevent standard specification | 486 | M3 | 60750
30 | SWR34330 | 15 | Supply & Fixing-15mm Bib Tap 300gm Qtr turn | Civil work | S&F-15mm Bib Tap 300gm Qtr turn | As per relevent standard specification | 684 | EA | 10260
31 | SWR34362 | 100 | Supply & Fixing 22.20mm OD CPVC Pipe-SDR 11 | Civil work | S&F 22.20mm OD CPVC Pipe-SDR 11 | As per relevent standard specification | 313 | M | 31300
32 | SWR11769 | 10 | Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) in existing Substation | Electrical work | Paint-Opertng Rods 33/11KV AB Swth in SS | As per relevent standard specification | 144.84 | EA | 1448.4
33 | SMR11486 | 50 | Supply of GI wire No .8 | supply of material | S-Earthing GI Wire No 8 incl mat | As per relevent standard specification | 105 | KG | 5250
34 | SWR12331 | 15 | Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | Electrical work | AB Switch Coil Earthing GI No. 8 Wire | As per relevent standard specification | 146.63 | EA | 2199.45
35 | SMR11488 | 125 | Supply of GI Bolts & Nuts etc | supply of material | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 117.5 | KG | 14687.5
36 | SWR10357 | 15 | Providing of earthing with excavation of earth pit (0.6x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.6M dia x 0.5 M height | Electrical work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 1234.2 | EA | 18513
37 | SWR10924 | 15 | Excavation of earth pit, supply of cast iron pipe with flange on one end (as per ISS7181/86) of nominal dia 125mm and 2.75 meters long in side the pit including supply and fixing RCC collars 0.75 meter dia (OD), 50mm thick and 0.60meters long complete as per APTRANSCO standards | supply of material | Supply&Erec of CI earth Pipe as APTRANCO | As per relevent standard specification | 9804 | EA | 147060
38 | SWR10359 | 15 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Erection work | ERECT. OF LINES-Providing of RCC collar | As per relevent standard specification | 386 | EA | 5790
39 | SMR40102 | 15 | Supply of 33KV TC Structure as per DATA-II | supply of material | S-33KV TC Structure as per DATA-II | As per relevent standard specification | 50703 | EA | 760545
40 | SMR40104 | 25 | Supply of 33KV BD Boom as per DATA-IV | supply of material | S-33KV BD Boom as per DATA-IV | As per relevent standard specification | 18244 | EA | 456100
41 | SWR11010 | 15 | Erection of 33KV TC Structure as per DATA-II as per SSR 2024-25 | Electrical work | Erect-33KV TC Structure as per DATA-II | As per relevent standard specification | 17393.04 | EA | 260895.6
42 | SWR11009 | 15 | Erection of 33KV TD Structure as per DATA-I as per SSR 2024-25 | Electrical work | Erect-33KV TD Structure as per DATA-I | As per relevent standard specification | 14839.78 | EA | 222596.7
43 | SWR10918 | 390 | Fabrication and connecting to risers of SS flat75X8mm from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc. | Electrical work | Earthing for raisers of SS Flat 75x8 mm. | As per relevent standard specification | 50 | RMT | 19500
44 | SMR23228 | 180 | Supply of Earth Mat 100x16mm GI Flat from Earth | supply of material | S-Earth Mat 100x16mm GI Flat from Earth | As per relevent standard specification | 975 | M | 175500
45 | SWR22054 | 180 | Laying of 100x16mm earth flat including excavation of trenches of depth 600mm, welding, connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication. | Electrical work | Laying of MS/GI 100x16mm earth flat | As per relevent standard specification | 65 | RMT | 11700
46 | SMR40027 | 15 | Supply of Alluminum LA clamps conforming to A6 of IS 617, with hot dip galvanised bolts and nuts suitable for single zebra / Panther | supply of material | Sup LA clamps for single zebra / Panther | As per relevent standard specification | 357 | EA | 5355
47 | SMR40047 | 5 | Supply of MS Powder coated CT Marshalling Box | supply of material | Sup MS Powder coated CT Marshalling Box | As per relevent standard specification | 3675 | EA | 18375
48 | SWR10870 | 4 | Fabrication and erection of Galvanization of Main and Auxiliary structures using raw steel such as M.S.Angles, Plates, Channels, R.S.Joists excluding cost of zinc and transport charges to substation site.The average quantity of Zinc required for all structures is 60 Kgs./MT,including erection. | Fabrication work | Galvanization of struc. using raw steel | As per relevent standard specification | 16000 | TO | 64000 | 1
49 | SWR12101 | 60 | Painting of feeder name on support including cost of paint | Civil work | Paint-Feeder Name on Support incl. Paint | As per relevent standard specification | 53 | EA | 3180
50 | SWR10940 | 5 | Erection of Marshalling boxes | Electrical work | Erection of Marshalling boxes | As per relevent standard specification | 374.85 | EA | 1874.25
51 | SWR33018 | 462.75 | Excavation-HardRock(Blasting prohibited) | Civil work | Excavation-HardRock(Blasting prohibited) | As per relevent standard specification | 1440 | M3 | 666360
52 | SWR33028 | 10.35 | Laying Plain C.C (1:4:8) using 40 mm HBG metal including cost & conveyance of all materials labour charges, curing, all leads lifts etc., complete for finished item of work. | Civil work | PCC with 40mm Metal (1:4:8) | As per relevent standard specification | 4706 | M3 | 48707.1
53 | SWR33041 | 69.86 | C.R.S Masonry in C.M(1:6) using HBG stone including cost & conveyance of all materials labour charges,curing,all leads lifts etc., complete for finished item of work. | Civil work | CRS Masonary CM(1:6) 2nd Sort | As per relevent standard specification | 4925 | M3 | 344060.5
54 | SWR33030 | 8 | Laying Plain C.C(1:2:4) nominal mix using 20 mm HBG metal incldg cost & conveyance of all materials mixing, curing,all labour charges,etc comp for finished item of work. | Civil work | PCC with 20mm Metal (1:2:4) | As per relevent standard specification | 6449 | M3 | 51592
55 | SWR33403 | 135 | Supply & Fixing MS Security Fencing Mesh (2"X2") | Civil work | S&F MS Security Fencing Mesh (2"X2") | As per relevent standard specification | 2310 | M2 | 311850
56 | SWR33068 | 11.5 | Brick masonry in cement mortar (1:6) for superstructure using well burnt country made second class bricks of approved quality including cost and conveyance of all materials curing, scaffolding with all leads and lifts etc., complete for finished item of work - Ground Floor | Civil work | Brick Masonary in CM(1:6) GFloor | As per relevent standard specification | 7209 | M3 | 82903.5
57 | SWR33163 | 61.5 | Plastering of 20mm thick to all uneven faces of walls of superstructure in two coats with base coat in CM 1:5 of 16mm thick and top coat in CM 1:3 4mm thick with dubara sponge finish including cost and conveyance of all materials, water, all labour charges, curing for specified number of days, cutting grooves, all leads, lifts and scaffolding charges,all incidental charges etc. complete for finished item of work and as directed by the Engineer - in - charge. Ground Floor | Civil work | Plastering 20mm (16mm+4mm)GFloor | As per relevent standard specification | 520 | M2 | 31980
58 | SWR33128 | 2.25 | RCC M - 20 Nominal mix (Cement:fine aggregate: coarse aggregate) corresponding to Table 9 of IS 456 using 20mm size graded machine crushed hard granite metal (coarse aggregae) from approved quarry including cost and conveyance of all materials like cement, fine agregate (sand) coarse aggregate, water etc., to site and including all operational, incidental and labour charges such as machine mixing, laying concrete, curing etc., complete but excluding cost of steel and its fabrication charges for finished item of work - Roof Slab Ground floor | Civil work | RCC Roof Slab GF: M20Gr, Steel Centering | As per relevent standard specification | 11455 | M3 | 25773.75
59 | SWR33144 | 0.5 | Providing High Yield Strength Deformed (HYSD)/ Thermo Mechanically Treated (TMT) / Mild steel (MS) steel bars (Fe 415/ Fe 500 grade as per IS 1786-1979) of different diameters for RCC works , including labour charges for straightening, cutting, bending to required sizes and shapes, placing in position with cover blocks of approved materials and size and tying and lap-splicing with binding wire of 18 SWG, forming grills for reinforcement work as per approved designs and drawings, including cost and conveyance of steel bars, including all wastages such as overlaps, couplings, chairs, spacer bars including cost and conveyance of binding wire, cover blocks and all incidental, operational, labour charges such as cutting, bending, placing in position, tying excluding taxes on all materials etc., complete for finished item of work in all floors.( APSS No.126) | Civil work | Reinforcement Steel Fe 415/500 | As per relevent standard specification | 84560 | TON | 42280
60 | SWR12375 | 3 | Supply & Erection-33KV 1200A Isolator incl. Solid Core | supply of material | S&E-33KV 1200A Isolator incl. Solid Core | As per relevent standard specification | 65800 | EA | 197400
61 | SMR40014 | 270 | Supply of clamps as per IS 5561- 1970 , 12mm thickness with Alluminum and Alluminum alloy conforming to A6 of IS 617 1994 & hot dip galvanised with Nuts & Bolts including spring washers conforming to IS 2633-1964, IS 1363-1967, IS1367- 1961)Supply of Spacer clamps suitable for twin zebra / Panther ACSR conductor with 150mm spacing | supply of material | Sup Spacer clamps twin zebra/Panther | As per relevent standard specification | 153 | EA | 41310
62 | SMR40013 | 15 | Supply of clamps as per IS 5561- 1970 , 12mm thickness with Alluminum and Alluminum alloy conforming to A6 of IS 617 1994 & hot dip galvanised with Nuts & Bolts including spring washers conforming to IS 2633-1964, IS 1363-1967, IS1367- 1961)Supply of Spacer T-Clamps with double dropper suitable for Zebra / Panther | supply of material | Sup Spacer T-clamps dble dppr zebra/Pant | As per relevent standard specification | 788 | EA | 11820
63 | SMR40016 | 30 | Supply of Tension Hardware 3 Bolted for Twin Zebra/panther with 150 mm spacing. | supply of material | Sup Tension Hardw 3 Bolt 2Zebra/panther | As per relevent standard specification | 2512 | SET | 75360
64 | SMR40051 | 20 | Supply of stepped tubular poles single way made of steel of length 9mtrs with tensile strength of 42kgf/mm2 at a steps of 4.5 mtrs with outer dia 114.3 mm,2.1 mtrs with outer dia 88.9 mm, 2.1 mtrs with outer dia 76.1 mm, normal Crippling load of 141 kgf, normal Breaking load of 198 kgf ,working Crippling load of 70 kgf, working Breaking load of 79 kgf as per IS 2713 | supply of material | Supply 9mtrs tubular poles single way | As per relevent standard specification | 13913 | EA | 278260
65 | SWR10955 | 20 | Erection of tubular poles | Electrical work | Errection of tubular poles | As per relevent standard specification | 1379 | EA | 27580
66 | SMR11594 | 20 | Supply of 90 W LED fixture set of (LUMINAIRE MAKE: PHILIPS /OSRAM/GE/VENTURE / CROMPTON/BAJAJ/VIN/WIPRO/JAGUAR/KESELEC/HAVELLS/HPL/SURYA/SYSKA. LED MAKE: PHILIPS LUMILEDS /CREE/NICHIA/OSRAM/SUMSANG/LG LEDs) make with minimum 120 Lm/W Lumens Output, 105 V to 295 V Voltage range, more than 0.94 Power factor, Pressure Die cast Alluminium housing, Powder coated/ anodized finishing, toughed glass lamp cover, IP65 ingress protection, less than 25% THD, minimum 70% electronic efficiency, minimum 140 degrees along the road & 80 degrees across the road beam angle, 4500 to 6500K Color temperature, very low mercury 6.4mg max, Life more than 50,000 burning hours, maximum 20% depreciation during life, Fully cut off control of distribution, Electronic Ballast driver type, minimum 10KV Surge withstand capacity, Poly carbonate reflector/ Poly Carbonate Lens secondary optics, suitable for fixing to existing poles in the Substations, with five years warranty | supply of material | S-90W LED fixture set | As per relevent standard specification | 8200 | EA | 164000
67 | SWR10956 | 20 | Fixing of Metal halide lamps with fixtures Make:Philips,Crompton,Bajaj junction box with MCB with 1.5 GI pipe complete. | Electrical work | Fixing of LED/Metal halide complete. | As per relevent standard specification | 1268 | EA | 25360
68 | SWR33609 | 90 | Drilling-165mm Bore Well 0 to 90M | Civil work | Drilling-165mm Bore Well 0 to 90M | As per relevent standard specification | 336 | M | 30240
69 | SWR34830 | 30 | Drilling-165mm Bore Well 90M to 120M | Civil work | Drilling-165mm Bore Well 90M to 120M | As per relevent standard specification | 369 | M | 11070
70 | SWR34831 | 30 | Drilling-165mm Bore Well 120Mto 150M | Civil work | Drilling-165mm Bore Well 120Mto 150M | As per relevent standard specification | 394 | M | 11820
71 | SWR34832 | 30 | Drilling-165mm Bore Well 150M to 180M | Civil work | Drilling-165mm Bore Well 150M to 180M | As per relevent standard specification | 492 | M | 14760
72 | SWR33635 | 1 | Suplly of Erection SP Sub Mrsbl pum set 1.5 HP 20 Stages | Civil work | Suplly of Erection SP Sub Mrsbl pum set 1.5 HP 20 Stages | As per relevent standard specification | 29047 | EA | 29047
Service Cost: | [8 empty] | 6509675.93
GST @18% | [8 empty] | 1171741.6674
Total: | [8 empty] | 7681417.5974