## Sheet1
Estimate Quantity (Only figures) | Item Detailed Specification Description | Work Type eg., Earth Work, Electrical works..etc., (Upto 200 Characters) | Item Short Description | APSS/Morth CI.Number (Upto 200 characters) | Rate INR upto 2 Decimals | UOM (upto 50 Characters) | Amount INR (Upto 2 Decimals)
6 | Hire-JCB to Level & Clear the Site | Civil Work | Civil work | As per relevent standard specification | 893 | H | 5358
300 | Excavation-HardRock(Blasting prohibited) | Civil Work | Civil work | As per relevent standard specification | 844 | M3 | 253200
22.3 | Excavation in Ordinary Soil | Civil Work | Civil work | As per relevent standard specification | 437 | M3 | 9745.1
3.6 | PCC with 40mm Metal (1:4:8) | Civil Work | Civil work | As per relevent standard specification | 4706 | M3 | 16941.6
55.7 | CRS Masonary CM(1:6) 2nd Sort | Civil Work | Civil work | As per relevent standard specification | 4925 | M3 | 274322.5
1.2 | PCC with 20mm Metal (1:2:4) | Civil Work | Civil work | As per relevent standard specification | 6449 | M3 | 7738.8
720.6 | S&Filling with Borrowed Gravel | Civil Work | Civil work | As per relevent standard specification | 480 | M3 | 345888
38 | S&Spreading of 20mm HBG Metal | Civil Work | Civil work | As per relevent standard specification | 1543 | M3 | 58634
43.05 | S&F MS Security Fencing Mesh (2"X2") | Civil Work | Civil work | As per relevent standard specification | 2192 | M2 | 94365.6
80 | S&F 28.60mm OD CPVC Pipe-SDR 11 | Civil Work | Civil work | As per relevent standard specification | 266 | M | 21280
60 | S&F 22.20mm OD CPVC Pipe-SDR 11 | Civil Work | Civil work | As per relevent standard specification | 228 | M | 13680
30 | S&F 15.90mm OD CPVC Pipe-SDR 11 | Civil Work | Civil work | As per relevent standard specification | 194 | M | 5820
25 | Collar/ Rings of 600mm dia | Civil Work | Civil work | As per relevent standard specification | 350 | EA | 8750
30 | S&F 12.7mm Bib Tap 400grams | Civil Work | Civil work | As per relevent standard specification | 275 | EA | 8250
1000 | S&F Polyethylene Water Storage Tank | Civil Work | Civil work | As per relevent standard specification | 9 | L | 9000
19.98 | Seigniorage Charges - Sand | Civil Work | Civil work | As per relevent standard specification | 40 | M3 | 799.2
103.58 | Seigniorage Charges - Metal | Civil Work | Civil work | As per relevent standard specification | 75 | M3 | 7768.5
720.6 | Seigniorage Charges - Gravel | Civil Work | Civil work | As per relevent standard specification | 30 | M3 | 21618
8 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports,back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavationRS Joist 150 x 150 mm | Erection | Erection of work | As per relevent standard specification | 1818.61 | EA | 14548.88
8 | Excavation of pits in hard rock not requiring blasting. 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") 1.05 cum | Excavation pit work | Excavation of pits work | As per relevent standard specification | 491 | EA | 3928
1 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc Erection of 33 KV VCB with Control Panel | Erection | Erection of work | As per relevent standard specification | 6346.08 | EA | 6346.08
4.8 | SS Work Excavate-Pit for 33KV VCB | Excavation pit work | Excavation of pits work | As per relevent standard specification | 331 | M3 | 1588.8
1 | Con of Plinth for 11kv VCB 1.8x1.8x0.75m | Plinth work | Construction of plinth | As per relevent standard specification | 26086 | EA | 26086
13.5 | Cnstrct-PTR Plint 3x3x1.5m 0.45m & 1.05m | Plinth work | Construction of plinth | As per relevent standard specification | 5053 | M3 | 68215.5
100 | Supply of earthing pipe with materials -Supply of MS bolts & nuts and washers etc of all sizes | Earthing | Earthing of work | As per relevent standard specification | 91.25 | KG | 9125
17 | Supply of earthing pipe with materials -Supply of CI earth pipe 100 mm dia, 2.75 mt long thickness 10mm with flange as per specification | Earthing | Earthing of work | As per relevent standard specification | 3486 | EA | 59262
17 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth ,running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.6M dia x 0.5 M height . | Earthing | Earthing of work | As per relevent standard specification | 1210 | EA | 20570
2 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels,current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) | Transportation | Transportation of Material | As per relevent standard specification | 4287 | EA | 8574
1 | Supply of Copper Flexible jumper with 75 X 8 of length 250 mm at neutral of Power tranformer end and 50 X 6 of length 50mm two Nos at double neutral end duly brasing with flexible jumper of capacity of 5kA/3 sec for power transformer neutral. | Supply | Supply of work | As per relevent standard specification | 4725 | EA | 4725
2 | Erection of 33 KV LAS station/Line type including earthing | Erection | Erection of work | As per relevent standard specification | 880 | SET | 1760
0.434 | Mass Concreting for pole Coping of 1.5'x1.5'x1 with 1:8 slope Using form boxes (0.031Cumt.) | Mass concreting work | Mass concreting of work | As per relevent standard specification | 3893 | M3 | 1689.562
900 | Control Cable Laying of 4 core/10 core 2.5 sq. mm.Copper control cable in aready excavation trench including cost of providing single compress glands at both ends . | Control Cable Laying | Control Cable Laying Work | As per relevent standard specification | 19 | M | 17100
200 | Cable terminations to the switch gear marshalling boxes/panel terminal blocks/control and relay panels LT AC panel including providing suitable ferrules and lugs as per specification (including cost of ferrules, lugs and glands. | Cable terminations | Cable termination work | As per relevent standard specification | 27 | LS | 5400
10.28 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand,Cement and curing etc.Including the cost of cement | Mass concreting work | Mass concreting of work | As per relevent standard specification | 6450 | M3 | 66306
17 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Providing of RCC collar to earth pit. | Providing of RCC collar to earth pit work | As per relevent standard specification | 386 | EA | 6562
6 | Supply of various Clamps Supply of clamps as per IS 5561- 1970 , 12mm thickness with Alluminum and Alluminum alloy -Supply of I Bolts | Supply clamps work | Supply of clamps work | As per relevent standard specification | 294 | EA | 1764
6 | Fixing of clamps I - bolts | Erection | Erection of work | As per relevent standard specification | 20 | EA | 120
12 | Supply of Tension Hardware 3 Bolted for single Zebra/panther with 150 mm spacing. | Supply work | Supply of work | As per relevent standard specification | 2055 | SET | 24660
40 | Supply of Aluminiam alloy T clamps controling to A6 of IS 617 1994 & hot dip galvanised with Nuts & Bolts including spring with hot dip galvanised bolts and double nuts with spring and flat washers of size M10 x 65 i.e(3/8" x 21/2 " to suit for panther ACSR on all three ways /on one side and Zebra ACSR on take off side or any other combination for carrying 800 A current rating . | Supply work | Supply work | As per relevent standard specification | 299 | EA | 11960
2 | Marshalling Box -Supply of MS Powder coted PT Marshalling Box | Supply work | Supply work | As per relevent standard specification | 4095 | EA | 8190
2 | Marshalling Box -Erection of marshalling box on the structure (pole mounted type) | Erection work | Erection of work | As per relevent standard specification | 1117.5 | EA | 2235
5 | Erection of AB Switch and aligment complete- Erection of 33 KV AB Switch including alignment and earthing | Erection work | Erection of work | As per relevent standard specification | 2663 | EA | 13315
7 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Painting work | Painting of work | As per relevent standard specification | 142 | EA | 994
1 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc Erection of 33 KV single phase PTs | Erection work | Erection of work | As per relevent standard specification | 1079 | SET | 1079
6 | Supply of various Clamps Supply of clamps as per IS 5561- 1970 , 12mm thickness with Alluminum and Alluminum alloy Supply of Alluminum PT clamps conforming to A6 of IS 617, with hot dip galvanised bolts and nuts suitable for single zebra / Panther | Supply work | Supply work | As per relevent standard specification | 368 | EA | 2208
212.7 | Laying of earth mat including excavation of trenches of depth 600mm,welding, connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication75x 8mm MS Flat / GI Flat. | Earthing | Earthing of work | As per relevent standard specification | 65 | RMT | 13825.5
6 | LOADING of LINE MATERIALS 33 KV10 KA LAs Station type | Loading work | Loading of work | As per relevent standard specification | 41 | EA | 246
6 | UNLOADING of LINE MATERIALS 33 KV10 KA LAs Station type | Un - Loading work | Un - Loading of work | As per relevent standard specification | 35 | EA | 210
5 | LOADING of LINE MATERIALS 33 KV AB SWCH Con 400/800 A | Loading work | Loading of work | As per relevent standard specification | 126 | EA | 630
5 | UNLOADING of LINE MATERIALS 33 KV AB SWCH Con 400/800 A | Un - Loading work | Un - Loading of work | As per relevent standard specification | 79 | EA | 395
1 | LOADING of LINE MATERIALS33 KV VCBs&Panel boards | Loading work | Loading of work | As per relevent standard specification | 1024 | EA | 1024
1 | UNLOADING of LINE MATERIALS 33 KV VCBs&Panel boards | Un - Loading work | Un - Loading of work | As per relevent standard specification | 1024 | EA | 1024
8 | LOADING of LINE MATERIALS RSJoists150 x 150 mm/RailPole | Loading work | Loading of work | As per relevent standard specification | 176 | EA | 1408
8 | UNLOADING of LINE MATERIALS RSJoists150 x150 mm/RailPol | Un - Loading work | Un - Loading of work | As per relevent standard specification | 107 | EA | 856
6 | LOADING of LINE MATERIALS R.S. Joists 175 x 85 mm | Loading work | Loading of work | As per relevent standard specification | 76 | EA | 456
6 | UNLOADING of LINE MATERIALS R.S. Joists 175 x 85 mm | Un - Loading work | Un - Loading of work | As per relevent standard specification | 50 | EA | 300
40 | Supply of earthing pipe with materials -Supply of GI Bolts & Nuts etc | Supply work | Supply work | As per relevent standard specification | 117.5 | KG | 4700
6 | SS works Cement concrete with 40MM metal VCB plinth | Erection | Erection of work | As per relevent standard specification | 5160 | M3 | 30960
6 | Excavation of pits in all soils except hard rock requiring blasting 0.76 M x 0.76M x 1.52M (2.6" x 2.6" x 5.0') 0.88 cum | Excavation pit work | Excavation of pits work | As per relevent standard specification | 474 | EA | 2844
200 | Supply of earthing pipe with materials Supply of GI Flat 25X3 mm | Supply work | Supply work | As per relevent standard specification | 105 | KG | 21000
1 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc Erection of 11 KV three phase PTs | Erection | Erection of work | As per relevent standard specification | 800 | SET | 800
5.7 | Transport of steel including line materials such as cross arms,clamps, hardware, cable (loose) and other line materials (Including loading and unloading) Above 30 KM and upto 50 KM | Transportation | Transportation of Material | As per relevent standard specification | 605 | TO | 3448.5
4.5 | LOADING of LINE MATERIALS M.S.Channels, Angles, Flats & Rods etc., | Loading work | Loading of work | As per relevent standard specification | 221 | TO | 994.5
4.5 | UNLOADING of LINE MATERIALS M.S.Channels, Angles, Flats & Rods etc., | Un - Loading work | Un - Loading of work | As per relevent standard specification | 185 | TO | 832.5
2 | LOADING of LINE MATERIALS 11 KV AB SWCH Con 200/400 A | Loading work | Loading of work | As per relevent standard specification | 80 | EA | 160
2 | UNLOADING of LINE MATERIALS 11 KV AB SWCH Con 200/400 A | Un - Loading work | Un - Loading of work | As per relevent standard specification | 80 | EA | 160
1 | LOADING of LINE MATERIALS 11 KV VCBs&Panel boards | Loading work | Loading of work | As per relevent standard specification | 1024 | EA | 1024
1 | UNLOADING of LINE MATERIALS 11 KV VCBs&Panel boards | Un - Loading work | Un - Loading of work | As per relevent standard specification | 1024 | EA | 1024
900 | SS works L-PVC Control Cb 4, 10C | Erection | Erection of work | As per relevent standard specification | 1 | M | 900
900 | SS works UL-PVC Control Cb 4, 10C | Erection | Erection of work | As per relevent standard specification | 0.15 | M | 135
12 | S-185 Sqmm Alluminium Lug | Erection | Erection of work | As per relevent standard specification | 13 | EA | 156
5.7 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding Supply of material cost for First coat of 1st Grade Aluminium Paint,brushes etc. | Paint work | Painting work | As per relevent standard specification | 2181 | TO | 12431.7
5.7 | Labour charges for painting including scratching and cleaning of Substation structures of 1st coat of Aluminium | Paint work | Painting work | As per relevent standard specification | 851 | TO | 4850.7
5.7 | Supply of material cost for Second coat of 1st Grade Aluminium Paint,brushes, etc. | Paint work | Painting work | As per relevent standard specification | 1293 | TO | 7370.1
5.7 | (*) Labour charges for painting including scratching and cleaning of Substation structures of 2nd coat of Aluminium . | Paint work | Painting work | As per relevent standard specification | 482 | TO | 2747.4
10 | Raise-DR 11KV 3x300sqmm UG Cb on support | Raising | Raising of Cable work | As per relevent standard specification | 270 | M | 2700
30 | Lay-DR 11KV 3x300sqmm UG Cb FootPath GI | Laying | Laying of Cable work | As per relevent standard specification | 560 | M | 16800
4.5 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | Fabrication | Fabrication of work | As per relevent standard specification | 3426 | TO | 15417
1 | Providing of earthing with various types of earth ectrodes.Providing of double earthing for neutral with flexible copper jumpers including arrangement by fixing M.S.Channel 100x50mm. | Earthing | Earthing of work | As per relevent standard specification | 1323 | EA | 1323
333 | Fabrication and connecting to risers from earth mat to structures, equipment,marshalling boxes, electrical panels, PLCC panels, fencing posts etc.M.S./ G.I. Flat 50x6mm / 50 x 8 mm ( Above ground) | Earthing | Earthing of work | As per relevent standard specification | 41 | RMT | 13653
16 | Bus Stringing Connection of equipment to bus and or another equipment with single zebra/Panther conductor including measuring, cutting,clamping and hoisting of suspension insulator assembly to support the conductor wherever necessary. | Stringing | Stringing of work | As per relevent standard specification | 224 | EA | 3584
7 | Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | Earthing | Earthing of work | As per relevent standard specification | 143.75 | EA | 1006.25
28.67 | Stringing of bus with panther conductor including jumpering etc., complete to all the equipment in SS fixing to all clamps and equipment.(3 Conductors) | Stringing | Stringing of work | As per relevent standard specification | 321.25 | M | 9210.2375
1 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc -Erection of 11 KV VCB with Control Panel | Erection | Erection of work | As per relevent standard specification | 5556.8 | EA | 5556.8
2 | Bus Stringing Hoisting of Insulators and hardware, stretching the conductor and stringing of 33 kV bus comprising of three phases with Single ebra/panther conductor to a tension of 450kgs.(Bus section of 4.5mt) | Stringing | Stringing of work | As per relevent standard specification | 781 | EA | 1562
4 | Making of Outdoor/Indoor End Termination S&Fix-3x300sqmm 11KV UG Cb OD End Kit | Supply and Fixing of End Termination Kit | Supply and Fixing of End Termination Kit work | As per relevent standard specification | 3236 | EA | 12944
40 | Labour for Fixing of all types of clamps | Fixing of clamps | Fixing of clamps work | As per relevent standard specification | 65 | EA | 2600
2 | Erection of 11KV 800A double throw AB Switches | Erection | Erection of work | As per relevent standard specification | 2134 | EA | 4268
10.8 | Earth work excavation of in all soils except hard rock requiring blasting. | Erection | Erection of work | As per relevent standard specification | 345 | M3 | 3726
6 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports,back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation Erection of 5 Mts RS Joist (Bit) Pole including fixing of Pole Mounted Box | Erection work | Erection of work | As per relevent standard specification | 1023.75 | EA | 6142.5
2 | LOADING of LINE MATERIALS 8M PSCC POLE | Loading work | Loading of work | As per relevent standard specification | 76 | EA | 152
2 | UNLOADING of LINE MATERIALS 8M PSCC POLE | Un - Loading work | Un - Loading of work | As per relevent standard specification | 37 | EA | 74
1 | LOADING of LINE MATERIALS 9.1M PSCC POLE | Loading work | Loading of work | As per relevent standard specification | 182 | EA | 182
1 | UNLOADING of LINE MATERIALS 9.1M PSCC POLE | Un - Loading work | Un - Loading of work | As per relevent standard specification | 91 | EA | 91
2 | Excavation of pits in all soils except hard rock requiring blasting 0.76 M x 0.76M x 1.52M (2.6" x 2.6" x 5.0') 0.88 cum | Excavation pit work | Excavation of pits work | As per relevent standard specification | 474 | EA | 948
2 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports,back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation 8.0 m long PSCC pole | Erection work | Erection of work | As per relevent standard specification | 1163 | EA | 2326
1 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports,back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation 9.1 m long PSCC pole | Erection work | Erection of work | As per relevent standard specification | 2108 | EA | 2108
1 | Control Panels- Supply of AC Supply panel inluding providing of changeover switch, SFU,metering unit, 32 A three phase MCB, 16 A Single phase MCB complete as per specification. | Supply of Control Panels- | Supply of Control Panels work | As per relevent standard specification | 42000 | EA | 42000
1 | Control Panels Erection of control/Relay panels, AC Panels, announciation panels etc in the control room duly mounting them on channels and grouting them with foundation bolts excluding cost of channels & foundation bolts | Erection of Control Panels- | Erection of Control Panels work | As per relevent standard specification | 2122 | EA | 2122
4 | Control Cable terminations to the switch gear marshalling boxes/panel terminal | Laying | Laying of Control Cable work | As per relevent standard specification | 33.75 | EA | 135
1 | Excavation of pits in hard rock not requiring blasting. 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") 1.05 cum | Excavation work | Excavation pit work | As per relevent standard specification | 491 | EA | 491