## uppal bhagayath
Name of the work:- Erection of 33/11KV outdoor Sub Station with 2x8MVA PTRs at Uppal Bhagayath Phase-II (Shilparamam) SS in Operation Habsiguda division, Habsiguda circle in ECGH Division of Master Plan/RR Circle under SCH Working Estimate.
WBS NO : S-1642-13-03-01-01-001 (Electrical)
SCHEDULE
Qty | Item Detailed Specification Description | Work Type | Item Short Description | APSS / Morth Cl. Number ( SAP Code) | Rate (INR) | UOM | Amount
SS labour
1 | Supply and fixing of Substation board of size 3'x2.5' indicating the layout of switchyard | Elect | Labour | SWR20032 | 1654 | EA | 1654 | 1
1 | Supply of Table (3x6ft) Godrej | Elect | Supply | SMR40057 | 6050 | EA | 6050 | 2
4 | Supply of S type chairs (Godrej) | Elect | Supply | SMR40058 | 924 | EA | 3696 | 3
1 | Supply of Wall clock standard make | Elect | Supply | SMR40059 | 578 | EA | 578 | 4
1 | Sup Angle racks(18x36.6inches) Godrej | Elect | Supply | SMR40060 | 1733 | EA | 1733 | 5
1 | Sup Steel almarah(61/2 X 3ft) Godrej | Elect | Supply | SMR40061 | 9818 | EA | 9818 | 6
1 | Sup Alluminium Ladder for indoor works | Elect | Supply | SMR40062 | 4410 | EA | 4410 | 7
1 | Supply of Taparia Tool kit of Size 20”x10”x15” with tier arrangements Tool box with locking arrangement & key containing (1) Double Ended fix Spanner sets, (Ribbed) 6 x 7, 8 x 9, 10 x 11, 12 x 13, 14 x 15, 16 x 17, 18 x19, 20 x 22, 21 x 23, 24 x 27, 25 x28, 30 x 32, (2) Double Ended Ring Spanners sets, 6 x 7 , 8 x 9, 10 x 11, 12 x 13, 14 x 15. 16 x 17 , 18 x 19, 20 x 22 , 21 x 23, 24 x 27, 25 x28, 30 x 32 mm, (3) Adjustable Spanner 305 mm length least maximum opening 35mm chrome, (4) Pipe Wrench Length 350 mm 14”, (5) Soft faced Hammer with suitable handle 2 lb, (6) Hacksaw frame with metal handle heavy duty for 12" hacksaw blade with High Speed blade, (7) Insulated Screw drivers Transparent Green Handle Set Length 6”, 8” & 12”, (8) Star Screw Driver Transparent Green Handle Length 6”, (9) Insulated Wire Cutter, (10) Insulated Cutting Plier Length 8” with cable stripper insulated with thick C. A. sleeve confirming to IS: 4378 - 1990, (11) Long Nose Plier insulated with thick C.A. sleeve generally confirming to IS:3552-1989, (12) Tester type screw driver (special with neon bulb) generally confirm to IS: 5579-1985 Grade:II handle yellow/ green colour overall length 130 mm, (13) Insulated Crimping Plier of all Taparia make. | Elect | Supply | SMR40063 | 4925 | SET | 4925 | 8
1 | Supply of Hack saw (12 inches) | Elect | Supply | SMR40065 | 289 | EA | 289 | 9
9 | Sup Earth Rods (8ft) Screw & clamp type | Elect | Supply | SMR40066 | 578 | EA | 5202 | 10
4 | Supply of Hand Gloves | Elect | Supply | SMR40067 | 289 | SET | 1156 | 11
12 | SupRubber mats( 6’x3’)size for indoorSS | Elect | Supply | SMR40068 | 1386 | EA | 16632 | 12
1 | Sup Stand basic cell phone with charger | Elect | Supply | SMR40069 | 1386 | EA | 1386 | 13
14 | Supply of Danger boards with clamps | Elect | Supply | SMR40070 | 116 | EA | 1624 | 14
6 | Supply of Safety Helmet of standard make | Elect | Supply | SMR40071 | 231 | EA | 1386 | 15
6 | Supply of Room fire extinguisher (2 ltrs capacity) for control room | Elect | Supply | SMR40089 | 4620 | EA | 27720 | 16
4 | Sup TrollyMounted Co2 Cylinders | Elect | Supply | SMR40087 | 9240 | EA | 36960 | 17
8 | Supply of LC Boards | Elect | Supply | SMR40072 | 116 | EA | 928 | 18
4 | Supply of Gum Boots | Elect | Supply | SMR40073 | 693 | EA | 2772 | 19
1 | Supply of 5000v megger | Elect | Supply | SMR40074 | 13860 | EA | 13860 | 20
1 | Supply of Digital clamp meter. | Elect | Supply | SMR40076 | 2888 | EA | 2888 | 21
1 | Name board of the 33/11kV Sub-Station(As per Standard Specification) | Elect | Supply | SMR40086 | 10238 | EA | 10238 | 22
700 | S/o rail poles 90/105lb (250x2N) | Elect | Supply | SMR22718 | 47.27 | KG | 33089 | 23
31 | Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc.(Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete.) | Elect | Supply | SMR40009 | 2181 | MT | 67611 | 24
31 | Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc.(Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete.) | Elect | Supply | SMR40010 | 1293 | MT | 40083 | 25
0.32 | Supply of Hot dip galvanized/zinc coated bolts & nuts including spring washers, pack washers and flat washers etc. | Elect | Supply | SMR12488 | 90 | KG | 28.8 | 26
90 | Supply of Alluminum alloy T clamps conforming to A6 of IS 617, 4 bolted with hot dip galvanised bolts and double nuts with spring and flat washers of size M10 x 65 i.e(3/8" x 21/2 " to suit for panther ACSR on all three ways /on one side and Zebra ACSR on take off side or any other combination for carrying 800 A current rating . | Elect | Supply | SMR40011 | 299 | EA | 26910 | 27
60 | Supply of CT stud clamps with hot dip galvanised bolts and nuts suitable for zebra / Panther conductor on one side and 28/30/40 mm CT stud on other side with stud size for single zebra / panther (4 bolted) with bimetallic sleeve for carrying 800 A | Elect | Supply | SMR40023 | 399 | EA | 23940 | 28
9 | Supply of Alluminum PT clamps conforming to A6 of IS 617, with hot dip galvanised bolts and nuts suitable for single zebra / Panther | Elect | Supply | SMR40025 | 368 | EA | 3312 | 29
12 | Supply of Alluminum LA clamps conforming to A6 of IS 617, with hot dip galvanised bolts and nuts suitable for single zebra / Panther | Elect | Supply | SMR40027 | 357 | EA | 4284 | 30
3 | Supply of 11kv, 200Amps copper Flexible jumpers | Elect | Supply | SMR40032 | 131 | EA | 393 | 31
2 | Supply of Copper Flexible jumper with 75 X 8 of length 250 mm at neutral of Power tranformer end and 50 X 6 of length 50mm two Nos at double neutral end duly brasing with flexible jumper of capacity of 5kA/3 sec for power transformer neutral. | Elect | Supply | SMR40033 | 4725 | EA | 9450 | 32
12 | Supply of Bimetalic Copper die clamps suitable for power transformer/ Lclamps HV of 1/2 inch bush rod and other end suitable for panther conductor and with bimetallic sheet on the pad of size 75X75X10mm with four holes of 14mm diameter (hole to hole distance 40mm) with suitable GI bolts and nuts including washers | Elect | Supply | SMR40039 | 909 | EA | 10908 | 33
1 | Supply of DC Annunciation & relay panel for 10 feeder panel including the cost of LED Indiacation lamps, VAA auxilairy relays, Electronic Hooters complete as per specification. | Elect | Supply | SMR40044 | 42500 | Panel | 42500 | 34
1 | Supply of AC Supply panel inluding providing of changeover switch, SFU, metering unit, 32 A three phase MCB, 16 A Single phase MCB complete as per specification | Elect | Supply | SMR40045 | 42000 | Panel | 42000 | 35
3 | Supply of MS Powder coted PT Marshalling Box | Elect | Supply | SMR40049 | 4095 | EA | 12285 | 36
10 | Supply of stepped tubular poles single way made of steel of length 9mtrs with tensile strength of 42kgf/mm2 at a steps of 4.5 mtrs with outer dia 114.3 mm,2.1 mtrs with outer dia 88.9 mm, 2.1 mtrs with outer dia 76.1 mm, normal Crippling load of 141 kgf, normal Breaking load of 198 kgf ,working Crippling load of 70 kgf, working Breaking load of 79 kgf as per IS 2713. | Elect | Supply | SMR40051 | 13913 | EA | 139130 | 37
10 | S&F 90W LED Street Light | Elect | Labour | SWR33556 | 8618 | EA | 86180 | 38
31 | Alligning the Main and Auxiliary structures such as RS joist, M.S.Angles, Plates, Channels, Structure to zero level duly leveling in prefabricated MS frames with Hydraulic jacks before galvanising/ fabrication | Elect | Labour | SWR10867 | 1470 | MT | 45570 | 39
31 | Fabrication of Main and Auxiliary structures with power drilling using raw steel such as M.S.Angles, Plates, Channels, R.S.Joists, including the supply and fabrication of 6mm base and top plate for Box pole to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | Elect | Labour | SWR10868 | 6852 | MT | 212412 | 40
42 | Painting suppports of 0.3m with bitumen | Elect | Labour | SWR10880 | 688 | EA | 28896 | 41
54.184 | Earth work excavation of in all soils except hard rock requiring blasting. | Elect | Labour | SWR20768 | 345 | M3 | 18693.48 | 42
250 | Supplying & fabrication erection of 6mm Checkerd plates as per the field conditions | Elect | Labour | SWR10873 | 83 | KG | 20750 | 43
24 | Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Elect | Labour | SWR10881 | 142 | EA | 3408 | 44
4 | Hoisting of Insulators and hardware, stretching the conductor and stringing of 33 kV bus comprising of three phases with Single Zebra/panther conductor to a tension of 450kgs.(Bus section of 4.5mt) | Elect | Labour | SWR21240 | 781 | Bus Section | 3124 | 45
6 | Hoisting of Insulators and hardware, stretching the conductor and stringing of 11 kV bus comprising of three phases with Single Zebra/panther conductor to a tension of 450kgs.(Bus section of 3.5mt) | Elect | Labour | SWR21241 | 507 | Bus Section | 3042 | 46
60 | Connection of equipment to bus and or another equipment with single zebra/Panther conductor including measuring, cutting,clamping and hoisting of suspension insulator assembly to support the conductor wherever necessary. | Elect | Labour | SWR10884 | 224 | EA | 13440 | 47
1040 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc with M.S./ G.I. Flat 50x6mm / 50 x 8 mm ( Above ground) | Elect | Labour | SWR10919 | 41 | RMT | 42640 | 48
183 | Labour charges for Fixing of all types of clamps | Elect | Labour | SWR10917 | 65 | EA | 11895 | 49
950 | Laying of earth mat including excavation of trenches of depth 600mm, welding, connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication.75x 8mm MS Flat / GI Flat. | Elect | Labour | SWR10920 | 65 | RMT | 61750 | 50
50 | For laying of earth flat in hard rock in substation / bays extension, an additonal amount -per RM to the basic labour rate of SSR will be allowed as there is no provision in the rate of laying of earth flat for remvoal of hard rocks. | Elect | Labour | SWR10922 | 53 | RMT | 2650 | 51
1 | Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete. | Elect | Labour | SWR10393 | 3200 | EA | 3200 | 52
2 | Transport of 8MVA power transformer | Elect | Labour | SWR10854 | 21945 | EA | 43890 | 53
2 | LOADING of 8 MVA PTR | Elect | Labour | SWR10613 | 5805.84 | EA | 11611.68 | 54
2 | UNLOADING of 8 MVA PTR | Elect | Labour | SWR10627 | 5805.84 | EA | 11611.68 | 55
2 | Erec 33/11 KV, 8 MVA PTR as per Specification | Elect | Labour | SWR21321 | 49480.2 | EA | 98960.4 | 56
1 | (Erection of DTR's including loading and Unloading DTR on the Structure/Plinth etc) Erection of 3 Ph DTRs upto 25KVA | Elect | Labour | SWR10463 | 1139.95 | EA | 1139.95 | 57
1 | RCC Column type DTR Plinth of size 1'X1'X10',topslab 4'x4'x6" & beam size 4'X8'X8" upto 160KVA | Elect | Labour | SWR21843 | 25967.57 | EA | 25967.57 | 58
1 | Erection of LT distribution box including laying of LT cable from distribution box to LT OH line and DTR to distribution box including earthing of distribution box and crimping of lugs connecting of jumpers etc | Elect | Labour | SWR10674 | 1594.67 | EA | 1594.67 | 59
45 | Supply of CI earth pipe 100 mm dia, 2.75 mt long thickness 10mm with flange as per specication | Elect | Supply | SMR11482 | 3486 | EA | 156870 | 60
2 | Erection of 33 KV VCB with Control Panel | Elect | Labour | SWR10460 | 12500 | EA | 25000 | 61
10 | Erection of 11 KV VCB with Control Panel | Elect | Labour | SWR10461 | 12000 | EA | 120000 | 62
1 | Loading of 50,63, 75 & 100 KVA DTR | Elect | Labour | SWR10195 | 350 | EA | 350 | 63
1 | Un loading of 50,63, 75 & 100 KVA DTR | Elect | Labour | SWR10513 | 280 | EA | 280 | 64
10 | Fixing of 150 W HP SV Lamp /LED Lamp/ Induction Lamp/ any other type yard lighting fixture | Elect | Labour | SWR11425 | 275 | SET | 2750 | 65
10 | Errection of tubular poles | Elect | Labour | SWR10955 | 1379 | EA | 13790 | 66
1 | Loading 220 V Battery with Charger | Elect | Labour | SWR11166 | 1612 | SET | 1612 | 67
1 | Un-loading 220 V Battery with Charger | Elect | Labour | SWR11147 | 1024 | SET | 1024 | 68
1 | Erect-220V Batery with Chrgr incl all-SS | Elect | Labour | SWR11772 | 6442.58 | EA | 6442.58 | 69
6 | Erection of 33 KV AB Switch including alignment and earthing | Elect | Labour | SWR10392 | 4500 | EA | 27000 | 70
18 | Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | Elect | Labour | SWR10393 | 3200 | EA | 57600 | 71
2 | Erection of 33kv single phase PT s | Elect | Labour | SWR10401 | 1079 | SET | 2158 | 72
2 | Erection of 11kv three phase PT s | Elect | Labour | SWR10402 | 800 | SET | 1600 | 73
2 | Erection of 11 KV HG Fuse set including earthing | Elect | Labour | SWR10395 | 740.52 | SET | 1481.04 | 74
5 | Erection of 33 KV LAS station/Line type including earthing | Elect | Labour | SWR10396 | 880 | SET | 4400 | 75
8 | Erection of 11 KV LAS station type including earthing | Elect | Labour | SWR10397 | 559 | SET | 4472 | 76
4 | Erection of Marshalling boxes | Elect | Labour | SWR10940 | 374.85 | EA | 1499.4 | 77
2800 | Laying of 4 core/10 core 2.5 sq. mm.Copper control cable in aready excavation trench including cost of providing single compress glands at both ends . | Elect | Labour | SWR11879 | 27 | M | 75600 | 78
90 | Providing of control cable trench as per DATA-XII | Elect | Labour | SWR22093 | 3148 | RMT | 283320 | 79
1 | Supply and fixing of safety instructions/Substation operation instruction board | Elect | Labour | SWR22090 | 2205 | EA | 2205 | 80
2 | Loading of 33 KV VCBs along with Panel boards | Elect | Labour | SWR10198 | 1024 | EA | 2048 | 81
2 | Un loading of 33 KV VCBs along with Panel boards | Elect | Labour | SWR10516 | 1044.48 | EA | 2088.96 | 82
10 | Loading of 11 KV VCBs along with Panel boards | Elect | Labour | SWR10199 | 1024 | EA | 10240 | 83
10 | Un loading of 11 KV VCBs along with Panel boards | Elect | Labour | SWR10517 | 1044.48 | EA | 10444.8 | 84
20 | Painting of Name Plates for any equipmen | Elect | Labour | SWR10963 | 122 | EA | 2440 | 85
42 | Erection of 9/10/11Meter Box pole (Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation ) | Elect | Labour | SWR11266 | 2643.83 | EA | 111040.86 | 86
32 | Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | Elect | Labour | SWR12331 | 146.63 | EA | 4692.16 | 87
5 | Transport of Cond Drum,VCBs >20 & <30Km with Lorry for each trip | Elect | Labour | SWR11862 | 3691.38 | EA | 18456.9 | 88
36.96 | "Providing of Base Concreting with 1:3:6 Concrete Mix including materials & curing with water | Elect | Labour | SWR12294 | 5053 | M3 | 186758.88 | 89
94 | Supply & spreading of 20mm machine crushed metal (HBG) including cost of conveneyance of all materials, labour charges etc complete for finished item of work and directed by the engineer incharge | Elect | Labour | SWR10860 | 2113 | M3 | 198622 | 90
2 | Erection of control/Relay panels, AC Panels, announciation panels etc in the control room duly mounting them on channels and grouting them with foundation bolts excluding cost of channels & foundation bolts | Elect | Labour | SWR11893 | 2122 | EA | 4244 | 91
4 | Erection of Rail pole 90 lbs in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation | Elect | Labour | SWR10344 | 3510 | EA | 14040 | 92
36 | Supply of Tension Hardware 3 Bolted for single Zebra/panther with 150 mm spacing | Elect | Supply | SMR11915 | 2055 | SET | 73980 | 93
36 | Supply of I-Bolts | Elect | Supply | SMR22473 | 294 | EA | 10584 | 94
36.96 | Earth work excavation of pits in hard murram/rock boulders | Elect | Labour | SWR20959 | 1530 | M3 | 56548.8 | 95
62.52 | "Providing of Base Concreting with 1:3:6 Concrete Mix including materials & curing with water | Elect | Labour | SWR12294 | 5053 | M3 | 315913.56 | 96
0.3 | 33KV Bay Extn: S-Zebra Conductor | Elect | Supply | SMR24910 | 299369 | KM | 89810.7 | 97
1 | CAD Drawing per pole upto 10KM | Elect | Labour | SWR12104 | 6000 | EA | 6000 | 98
2 | Fire bucket stand with 3 buckets (8 -10 ltr capacity) | Elect | Supply | SMR40088 | 1386 | EA | 2772 | 99
5 | Transport of Cond Drum,VCBs >10 & <20Km with Lorry for each trip | Elect | Labour | SWR11861 | 3299.7 | EA | 16498.5 | 100
1 | Rechargeable LED torch light of Standard make | Elect | supply | SMR40064 | 1733 | EA | 1733 | 101
2 | Supply of GI eath pipe with 40 mm dia,3mm thcikness with 2.0 M Length | Elect | Supply | SMR11480 | 698 | EA | 1396 | 102
44.1 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. including the cost of cement | Elect | Labour | SWR10356 | 6579 | M3 | 290133.9 | 103
2 | Supply of LT 31/2x185 Sqmm UG Out Door end termination kits | Elect | Supply | SMR40140 | 550 | EA | 1100 | 104
2 | OD/Idoor end termination LT 3 1/2 x 185 Sqmm Cable | Elect | Labour | SWR10765 | 968.9 | EA | 1937.8 | 105
416 | Laying of earth mat including excavation of trenches of depth 600mm, welding, connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication.GI Flat 25 x 3 mm (including material) | Elect | labour | SWR10921 | 68 | RMT | 28288 | 106
19 | Loading of 11KV AB Switch Conventional type | Elect | Labour | SWR10238 | 80 | EA | 1520 | 107
19 | Un loading of 11KV AB Switch Conventional type 200/400 A | Elect | Labour | SWR10556 | 80 | EA | 1520 | 108
0.49 | S-Hot dip gal./Zinc bolts & nuts washer (Supply of Hot dip galvanized/zinc coated bolts & nuts including spring washers, pack washers and flat washers etc) | Elect | Supply | SMR12488 | 90 | KG | 44.1 | 109
29.7 | "Providing of Base Concreting with 1:3:6 Concrete Mix including materials & curing with water | Elect | Labour | SWR12294 | 5053 | M3 | 150074.1 | 110
48.6 | "Providing of Base Concreting with 1:3:6 Concrete Mix including materials & curing with water | Elect | Labour | SWR12294 | 5053 | M3 | 245575.8 | 111
15 | "Providing of Base Concreting with 1:3:6 Concrete Mix including materials & curing with water | Elect | Labour | SWR12294 | 5053 | M3 | 75795 | 112
2.48 | Coping of 1.5'x1.5'x1 with 1:8 slope Using form boxes (0.031Cumt.) | Elect | Labour | SWR11890 | 3893 | M3 | 9654.64 | 113
90 | Lay - SR LT 3 1 /2 x 95 Sqmm Cable (In Hard Gravel Soil / BC soil / Red earth / stone and earth mixed with fair boulders / Normal soil / CC/BT Road) | Elect | Labour | SWR11925 | 377.63 | M | 33986.7 | 114
10 | LT 3 1/2 x 95 Sqmm Cable (Raising of cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe)) | Elect | Labour | SWR11961 | 85.43 | M | 854.3 | 115
6 | Loading of 33KV 800 Amps AB Switch | Elect | Labour | SWR10239 | 126 | EA | 756 | 116
6 | Un loading of 33KV 800 Amps AB Switch | Elect | Labour | SWR10557 | 79 | EA | 474 | 117
84 | FABRICATION Cutting Charges for MS Sections per cut RS Joists 175 x 85 mm | Elect | Labour | SWR10298 | 47 | EA | 3948 | 118
20 | Supply of Spacer clamps suitable for twin zebra / Panther ACSR conductor with 150mm spacing | Elect | Supply | SMR40014 | 153 | EA | 3060 | 119
20 | Supply of Tension Hardware 3 Bolted for Twin Zebra/panther with 150 mm spacing. | Elect | Supply | SMR40016 | 2512 | SET | 50240 | 120
10 | Supply of Alluminum PT clamps conforming to A6 of IS 617, with hot dip galvanised bolts and nuts suitable for single zebra / Panther | Elect | Supply | SMR40025 | 368 | EA | 3680 | 121
10 | Supply of Alluminum PT clamps conforming to A6 of IS 617, with hot dip galvanised bolts and nuts suitable for Double zebra / Panther | Elect | Supply | SMR40026 | 473 | EA | 4730 | 122
45 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Elect | Labour | SWR10357 | 1234.2 | EA | 55539 | 123
45 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Elect | Labour | SWR10359 | 386 | EA | 17370 | 124
90 | Un loading of Spun poles 12.5 M | Elect | Labour | SWR10508 | 363 | EA | 32670 | 125
90 | Loading of Spun poles 12.5 M | Elect | Labour | SWR10190 | 548 | EA | 49320 | 126
90 | Trans 11/12.5/12.9M Spun pole upto 50KM | Elect | Labour | SWR11181 | 858 | EA | 77220 | 127
90 | Spun poles 12.5 Mtrs / 12.9Mtrs PSCC | Elect | Labour | SWR10350 | 4521.66 | EA | 406949.4 | 128
90 | Exc of Hard pit w/o blast 0.92X0.92X2.3M (3.0" x 3.0" x 7.6") | Elect | Labour | SWR11041 | 1466.25 | Per Pit | 131962.5 | 129
2 | Excvt Pit Hard w/o Blst 1.2Mx1.2Mx3.3M | Elect | Labour | SWR12090 | 3592.95 | Per Pit | 7185.9 | 133
6 | LOADING of R.S. Joists 175 x 85 mm | Elect | Labour | SWR10204 | 76 | EA | 456 | 134
6 | UNLOADING of R.S. Joists 175 x 85 mm | Elect | Labour | SWR10522 | 50 | EA | 300 | 135
6 | Painting of R.S Joist,Box poles including cross arms and clamps with two coat of Al.paint including cost of paint and consumables. | Elect | Labour | SWR10641 | 656 | EA | 3936 | 136
3 | Erection of 9/10/11Meter Box pole(Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation) | Elect | Labour | SWR11266 | 2643.83 | EA | 7931.49 | 137
125 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc.,.M.S./ G.S. Flat 50x6mm / 50 x 8 mm ( Above ground) | Elect | Labour | SWR10919 | 41 | RMT | 5125 | 138
3.1 | Fabrication of Main and Auxiliary structures with power drilling using raw steel such as M.S.Angles, Plates, Channels, R.S.Joists, including the supply and fabrication of 6mm base and top plate for Box pole to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | Elect | Labour | SWR10868 | 6852 | MT | 21241.2 | 139
3.1 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ).(Above 10 KM and upto 20 KM) | Elect | Labour | SWR10132 | 412.08 | TO | 1277.448 | 140
5 | Erection of 33 KV AB Switch including alignment and earthing | Elect | Labour | SWR10392 | 4500 | EA | 22500 | 141
5 | Loading of 33KV 800 Amps AB Switch | Elect | Labour | SWR10239 | 126 | EA | 630 | 142
5 | Un loading of 33KV 800 Amps AB Switch | Elect | Labour | SWR10557 | 79 | EA | 395 | 143
6 | Excavation of earth pit, supply of cast iron pipe with flange on one end (as per ISS7181/86) of nominal dia 125mm and 2.75 meters long in side the pit including supply and fixing RCC collars 0.75 meter dia (OD), 50mm thick and 0.60meters long complete as per APTRANSCO standards | Elect | Labour | SWR10924 | 9804 | EA | 58824 | 144
52.5 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand and curing etc. Including the cost of cement | Elect | Labour | SWR10356 | 6579 | M3 | 345397.5 | 145
200 | 33 KV 3x400 Sqmm Cable(Along the CC / BT multi layer road requiring compressor)Laying of XLPE UG cable Double Run including excavation of trench of size 600mm wide and 850mm for LT,1050mm for 11 KV and 1200mm for 33 KV from road level and cable separation with machine cut brickshorizontally for every 3 meters , providing of DWC/GI pipes wherever required depth is not acquired as per the instructions of Engineer in Charge, the prorata basis rates to be adopted for 2 feet, 3feet depths and filling withsand 250mm above the cable and 50mm below the cable, laying of cable, placing 40mm shabad protectiveslabs, back filling the trench with earth, levelling and removing the debris from the site inluding the cost of leadand lift etc.. (Second cable laying cost not Included) depth of the trench LT-0.85 mts, 11 KV-1.05Mtrs & 33 KV -1.20 mtrs. | Elect | Labour | SWR11980 | 1388.84 | M | 277768 | 146
250 | Lay-DR 33KV 3x400sqmm UG Cb In Hard Gravel Soil / BC soil / Red earth / stone and earth mixed with fair boulders / Normal soil/CC (Laying of XLPE UG cable Double Run including excavation of trench of size 600mm wide and 850mm for LT, 1050mm for 11 KV and 1200mm for 33 KV from road level and cable separation with machine cut bricks horizontally for every 3 meters , providing of DWC/GI pipes wherever required depth is not acquired as per the instructions of Engineer in Charge, the prorata basis rates to be adopted for 2 feet, 3feet depths and filling with sand 250mm above the cable and 50mm below the cable, laying of cable, placing 40mm shabad protective slabs, back filling the trench with earth, levelling and removing the debris from the site inluding the cost of lead and lift etc.. (Second cable laying cost not Included) depth of the trench LT-0.85 mts, 11 KV-1.05Mtrs & 33 KV -1.20 mtrs. | Elect | Labour | SWR11972 | 749 | M | 187250 | 147
80 | Raising of double run cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) 33 KV 3x400 Sqmm Cable | Elect | Labour | SWR12004 | 323.85 | M | 25908 | 148
4 | Making of Straight through joints 33 KV 3x400 Sqmm Cable | Elect | Labour | SWR10382 | 5700.78 | EA | 22803.12 | 149
16 | Making of Outdoor/Indoor End Termination 33 KV 3x400 Sqmm Cable | Elect | Labour | SWR10387 | 2764.76 | EA | 44236.16 | 150
120 | Supply of 9" B class GI pipe | Elect | Supply | SMR40082 | 1113 | M | 133560 | 151
4 | Supply of GI eath pipe with 40 mm dia,3mm thcikness with 2.0 M Length | Elect | Supply | SMR11480 | 698 | EA | 2792 | 152
25 | Supply of GI Flat 25X3 mm | Elect | Supply | SMR11485 | 105 | KG | 2625 | 153
4.5 | Paving out and stringing of conductor by providing temporary stays, tensioning, sagging correctly, fixing strain points, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including transport of material from road side to location. 100 Sqmm Single Circuit (3 Conductors) | Elect | Labour | SWR10366 | 13856.7 | KM | 62355.15 | 154
3.6 | Supply of material cost for First coat of 1st Grade Aluminium Paint, brushes etc. (Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete.) | Elect | Supply | SMR40009 | 2181 | MT | 7851.6 | 155
3.6 | Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | Elect | Supply | SMR40010 | 1293 | MT | 4654.8 | 156
3.6 | Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Elect | Labour | SWR10877 | 851 | MT | 3063.6 | 157
3.6 | Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium . | Elect | Labour | SWR10879 | 482 | MT | 1735.2 | 158
100 | S-GI Bolts & Nuts,Washers etc., | Elect | Supply | SMR11488 | 117.5 | KG | 11750 | 159
100 | FABRICATION Cutting Charges for MS Sections for MS Channel 100 x 50 mm | Elect | Labour | SWR10294 | 10 | EA | 1000 | 160
16 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation 11 Mtrs PSCC poles | Elect | Labour | SWR10978 | 4336.85 | EA | 69389.6 | 161
3 | Transport-33KV 3x400sqmm Cb Drum to 50km | Elect | Labour | SWR25024 | 21423 | EA | 64269 | 162
3 | Load-11/33KV XLPE UG Cable for all sizes | Elect | Labour | SWR11230 | 1024 | DR | 3072 | 163
3 | Unload-11/33KV XLPE UG Cable all sizes | Elect | Labour | SWR11231 | 1024 | DR | 3072 | 164
5 | Loading of Conductor drums | Elect | Labour | SWR10191 | 202 | EA | 1010 | 165
5 | UNLOADING of Conductor drums | Elect | Labour | SWR10509 | 100 | EA | 500 | 166
5 | Transport of Cond Drum,VCBs upto 10Km with Lorry for each trip | Elect | Labour | SWR11860 | 2720.34 | EA | 13601.7 | 167
450 | Laying of 2nd cable in excavated trench | Elect | Labour | SWR10988 | 204.1 | M | 91845 | 168
6 | Erection of Extension of 3Mtrs for M+3 (Galvanized) | Elect | Labour | SWR11851 | 5168.95 | EA | 31013.7 | 169
1 | Excavation of pits in all soils except hard rock requiring blasting (1.2M x 1.2M x 3.3M ) 4.752cum | Elect | Labour | SWR12085 | 1997.93 | EA | 1997.93 | 170
6 | Supply of material for Extension of 3Mtrs for M+3 (Galvanized) | Elect | Supply | SMR11684 | 28520.64 | EA | 171123.84 | 132
3 | Erection of M+3 Tower (Galvanized) | Elect | Labour | SWR11850 | 64576 | EA | 193728 | 131
3 | Supply of M+3 Tower (Galvanized) | Elect | Supply | SMR11683 | 140674.3 | EA | 422022.9 | 130
6 | Paving out and stringing of conductor by providing temporary stays, tensioning, sagging correctly, fixing strain points, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including transport of material from road side to location. 55 Sqmm Single Circuit (3 Conductors) | Elect | Labour | SWR10365 | 9454.81 | KM | 56728.86 | 171
20 | Formation of Cut point for 11 KV Single Circuit line excluding pole erection and stays | Elect | Labour | SWR10653 | 1435.81 | EA | 28716.2 | 172
360 | Loading of 11KV pin insulators/Post type insulators/ Solid core insulators | Elect | Labour | SWR10212 | 1 | CRT | 360 | 173
360 | Un loading of 11KV pin insulators/Post type insulators/ Solid core insulators | Elect | Labour | SWR10530 | 1 | CRT | 360 | 174
180 | Loading of 33 & 11 KV Disc insulators | Elect | Labour | SWR12416 | 2 | CRT | 360 | 175
180 | Un loading of 33 & 11 KV Disc insulators | Elect | Labour | SWR10631 | 2 | CRT | 360 | 176
4 | LOADING of 11 KV Metal parts | Elect | Labour | SWR12402 | 48 | BAG | 192 | 177
4 | UNLOADING of 11 KV Metal parts Bag | Elect | Labour | SWR12421 | 48 | BAG | 192 | 178
400 | Supply of GI Bolts & Nuts etc | Elect | Supply | SMR11488 | 117.5 | KG | 47000 | 179
500 | MS Channel, Angles and flat - Drilling of holes upto 20 mm dia using power drills | Elect | Labour | SWR10307 | 4 | EA | 2000 | 180
175 | MS Channel 100 x 50 mm (Cutting Charges) | Elect | Labour | SWR10294 | 10 | EA | 1750 | 181
120 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation 11 Mtrs PSCC poles | Elect | Labour | SWR10978 | 4336.85 | EA | 520422 | 182 | 124
120 | 11 Mtrs long PSCC Poles Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) | Elect | Labour | SWR11180 | 431.97 | EA | 51836.4 | 183 | 46
120 | Loading of PSCC Poles 9.1 M | Elect | Labour | SWR10188 | 182 | EA | 21840 | 184 | 41
120 | UNLOADING of 9.1M PSCC POLE | Elect | Labour | SWR10506 | 91 | EA | 10920 | 185
84 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. including the cost of cement | Elect | labour | SWR10356 | 6579 | M3 | 552636 | 186
32 | 11 KV 3x300 Sqmm Cable (Making of Outdoor/Indoor End Termination) | Elect | Labour | SWR10391 | 2370.63 | EA | 75860.16 | 187
2 | 11 KV 3x300 Sqmm Cable (Making of Straight through joints) | Elect | Labour | SWR10386 | 3725.45 | EA | 7450.9 | 188
8 | Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | Elect | Labour | SWR10393 | 3200 | EA | 25600 | 189
120 | Loading of 11 KV V - Cross arms | Elect | labour | SWR10228 | 4 | EA | 480 | 190
120 | UNLOADING of 11 KV V - Cross arms | Elect | Labour | SWR10546 | 4 | EA | 480 | 191
15 | Formation of Cut point for 11 KV Single Circuit line excluding pole erection and stays | Elect | labour | SWR10653 | 1435.81 | EA | 21537.15 | 192
270 | (In Hard Gravel Soil / BC soil / Red earth / stone and earth mixed with fair boulders / Normal soil/CC) Lay-DR 11KV 3x300sqmm UG Cb /BC/CC/BT (Laying of XLPE UG cable Double Run including excavation of trench of size 600mm wide and 850mm for LT,1050mm for 11 KV and 1200mm for 33 KV from road level and cable separation with machine cut brickshorizontally for every 3 meters , providing of DWC/GI pipes wherever required depth is not acquired as per theinstructions of Engineer in Charge, the prorata basis rates to be adopted for 2 feet, 3feet depths and filling withsand 250mm above the cable and 50mm below the cable, laying of cable, placing 40mm shabad protectiveslabs, back filling the trench with earth, levelling and removing the debris from the site inluding the cost of leadand lift etc.. (Second cable laying cost not Included) depth of the trench LT-0.85 mts, 11 KV-1.05Mtrs & 33 KV -1.20 mtrs. | Elect | Labour | SWR11973 | 631.06 | M | 170386.2 | 193
3 | Detailed survey of line and cable including peg marking and necessary tree clearance | Elect | Labour | SWR22092 | 765 | KM | 2295 | 194
120 | Earth work excavation of in all soils except hard rock requiring blasting. | Elect | labour | SWR20768 | 345 | M3 | 41400 | 195
60 | Raising of cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) 11 KV 3x300 Sqmm Cable | Elect | labour | SWR11955 | 144.08 | M | 8644.8 | 196
2 | Loading of 11KV/33KV XLPE UG Cable for all sizes | Elect | labour | SWR11230 | 1024 | DR | 2048 | 197
2 | Un loading of 11KV/33KV XLPE UG Cable for all sizes | Elect | Labour | SWR11231 | 1024 | DR | 2048 | 198
6 | Loading of Conductor drums | Elect | Labour | SWR10191 | 202 | EA | 1212 | 199
6 | UNLOADING of Conductor drums | Elect | Labour | SWR10509 | 100 | EA | 600 | 200
100 | Supply of earthing pipe with materials of GI Flat 25X3 mm | Elect | Supply | SMR11485 | 105 | KG | 10500 | 201
4.75 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ) Above 10 KM and upto 20 KM | Elect | Labour | SWR10132 | 412.08 | TO | 1957.38 | 202
8 | Loading of 11KV AB Switch Conventional type | Elect | Labour | SWR10238 | 80 | EA | 640 | 203
8 | Un loading of 33KV 800 Amps AB Switch | Elect | Labour | SWR10557 | 79 | EA | 632 | 204
14 | Earthing of Substation Supply of GI pipe 40 mm dia, 2 mtrs, 3mm thickness with bolts and nuts | Elect | Supply | SMR40091 | 733 | EA | 10262 | 205
85 | Supply of earthing pipe with materials of GI Flat 25X3 mm | Elect | Supply | SMR11485 | 105 | KG | 8925 | 206
245 | Numbering of poles incl. cost of paint | Elect | Labour | SWR10378 | 32 | EA | 7840 | 207
98 | Fabrication of materials including 2 coats of Red oxide painting Back clamps with 50 x 6 mm MS Flat | Elect | Labour | SWR10320 | 15 | EA | 1470 | 208
13 | Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | Elect | Labour | SWR12331 | 146.63 | EA | 1906.19 | 209
14 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Elect | Labour | SWR10357 | 1234.2 | EA | 17278.8 | 210
270 | Laying of 2nd cable in excavated trench across the CC/ BT road crossing multi layer road requiring compressor (excluding the cost of Hume pipe) | Elect | Labour | SWR10988 | 204.1 | M | 55107 | 211
Total: | [6 empty] | 9075897.488
WBS NO : S-1642-13-07-01-01-001( Civil)
Earth work excavation in all type of soils red earth, Hard gravelly soils, earth mixed with sand and sandy soils etc., in all conditions such as slushy and dry with initial leads and lifts etc.,complete for finished item of work.
165.9 | a) Ordinary Soils | Civil | Labour | SWR33015 | 464 | M3 | 76977.6
4.1 | Supplying and filling with Borrowed Sand, including cost and conveyance of all materials, labour charges,hire charges of machnery,with all leads and incidental charges etc complete for finished item work | Civil | Labour | SWR33053 | 3315 | M3 | 13591.5
41.8 | Providing and laying of plain cement concrete 1:4:8 for levelling course using 40mm size HBG metal including cost and conveyance of all materials,labour ,curing ,seignorage charges, hire charges for mashanary, at all levels, ramming in all layers, and removal of form work after completion of work,all incidental charges etc.,complete for finished item of work as directed by the Engineer- in - charge. | Civil | Labour | SWR33028 | 4706 | M3 | 196710.8
134.2 | CRS masonry in CM 1:6 2nd Sort using Hard Granite Stones including cost and conveyance of all materials,labour, seignorage charges, dewatering, scaffolding, curing, all leads and lifts, all incidental charges etc .complete for finished item of work as directed by the Engineer - in - charge. | Civil | Labour | SWR33041 | 4925 | M3 | 660935
34.1 | Plain cement concrete 1:2:4 nominal mix using 20 mm HBG metal including cost & conveyance of all materials, labour, seignorage charges , mixing,curing,etc complete for finished item of work as directed by the Engineer-in-charge. | Civil | Labour | SWR33030 | 6449 | M3 | 219910.9
848 | Supplying and filling with borrowed gravel, watering, ramming, consolidating thoroughly complying with the standard specification including cost and conveyance of all materials, labour charges,hire charges of machnery,with all leads and lifts,incidental charges etc complete for finished item work as directed by the Engineer - in - charge. | Civil | Labour | SWR33052 | 480 | M3 | 407040
46.16 | Construction of brick masonary in CM(1:6) including cost and conveyance of all materials, labour charges,curing, seignorage,all incidental charges etc. complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR33068 | 7209 | M3 | 332767.44
Reinforced cement concerete M20 GRADE Nominal Mix for footings , columns, Beams and Slab using 12mm to 20mm size graded HBG machine crushed metal from approvaed quary giving cube crushing strenth of 20 N /sqm and a minimum of 400 kgs of cement for 1 cum of concrete including cost and conveyance of all materials,labour, seignorage charges, centering, shuttering, machine mixing,laying concrete, curing, compaction by pin and pan vibrater, supplemented by hand spreeding rodding and tamping, all leads and lifts,all incidental charges etc complete for finished item of work but excuding cost of steel and its fabrication as directed by the Engineer - in - charge .
4.8 | a) Footings | Civil | Labour | SWR33098 | 9445 | M3 | 45336
3.6 | b) Columns | Civil | Labour | SWR33100 | 12828 | M3 | 46180.8
2.9 | c) Plinth Beams | Civil | Labour | SWR33099 | 12025 | M3 | 34872.5
0.5 | d) Lintels | Civil | Labour | SWR33107 | 12661 | M3 | 6330.5
3.6 | e) Sunshades 0.6m width & 75 mm thick | Civil | Labour | SWR33114 | 1304 | M2 | 4694.4
4.2 | f) Roof Beams | Civil | Labour | SWR33121 | 11947 | M3 | 50177.4
12.8 | g) Roof slab 120 mm thick | Civil | Labour | SWR33128 | 11455 | M3 | 146624
3.5 | Providing High Yield Strength Deformed (HYSD)/ Thermo Mechanically Treated (TMT) / Mild steel (MS) steel bars (Fe 415/ Fe 500 grade as per IS 1786-1979) of different diameters for RCC works , including cost and conveyance of all materials, labour charges for straightening, cutting, bending to required sizes and shapes, placing in position with cover blocks of approved materials and size and tying with binding wire of 18 SWG, forming grills for reinforcement work as per approved designs and drawings, including all wastages such as overlaps, chairs, spacer bars, and binding wire, all incidental, operational charges and sales and other taxes on all materials etc., complete for finished item of work in all floors.( APSS No.126) as directed by Engineer-in-charge. | Civil | Labour | SWR33144 | 84560 | TON | 295960
674.7 | Providing plastering of 20mm (16mm+ 4mm) thick to all walls and ceiling of superstructure in two coats with first coat in CM 1:6 of 16mm thick and second coat in Cm 1:4 4mm thick including cost and conveyance of all materials,labour, water charges, curing for specified number of days, cutting grooves, at all heghits, all leads and lifts, incidental and scaffolding, seigniorage charges, etc. complete for finished item of work as directed by the Engineer - in - charge. | Civil | Labour | SWR33163 | 520 | M2 | 350844
95 | Providing impervious coat over RCC roof slab to requried slopes with 20mm thick in CM 1:3 mixed with approved brand of water proffing compound inclding cost and conveyance of all materials, labour charges, curing, rounding off junctions of wall and slab, all leads and lifts, etc . complete for finished item of work as directed by the Engineer - in - charge. | Civil | Labour | SWR33156 | 548 | M2 | 52060
111.2 | Raised pointing to the exposed surfaces of CRS masonry in cm 1:3 prop. including cost and conveyance of all materials, labour charges, all leads and lifts curing etc, complete for finished item of work as directed by Engineer-in-charge. | Civil | Labour | SWR33184 | 117 | M2 | 13010.4
8.7 | Supply and fixing of doors with the frames of the door shall be made well seasoned mt wood of cross section 100x75mm. The shutter shall be made isi mark flushed door with laminate both sides with PVC beading 40mm width all round.Frame shall be painted with two coats of synthetic enamel paint of approved color over one coat of primer over luppum with spary with 3 no 150mm brass hinges 1 no brass door stoper, 1 no 250mm brass aldrops. 2 no 300 mm aluminium tower bolts, 2 no 150mm brass fancy door handlers, 1 no keyless lockset with cp handel. The quoted rate shall include cost and conveyance of the meterials, fixig, labour carges, tools, handles,locking arrangementts and other fixtures & fittings for finished item work as directed by the Engineer - in- charge. | Civil | Labour | SWR33264 | 7040 | M2 | 61248
8.64 | Supply and Fixing of Aluminium sliding windows with fixed glass panels using aluminium sections 62x32x1.2mm providing 5mm plain glass fixed to frame with beading gasket and glazing clips with all accessories,locking arrangements including cost and conveyance of all materials,labour charges etc. complete for finished item of work and as directed by the Engineer-in-charge.. | Civil | Labour | SWR33277 | 3472 | M2 | 29998.08
8.82 | Supplying and fixing of MS safety grill with peripheral frame of ISA 25x25x4mm and horizontal & vertical 8mm square rods and including cost and coveyance of all mateirals with all leads and lifts, labour charges, painting charges complete for finished item of work as directed by Engieer-in-chargea. | Civil | Labour | SWR33310 | 2913 | M2 | 25692.66
82.2 | Flooring with double machine polished and hand cut Shabad stone 20mm thick of approved colour, quality and size over a bed of cement mortar 1:3 20mm thick including cost of all materials, labour,with all leads and lifts, jointing and pointing with cement, etc, complete for finished item of work as directed by Engineer-in-charge | Civil | Labour | SWR33219 | 641 | M2 | 52690.2
7.8 | Providing skirting with polished shabad stone CM (1:3) including cost & conveyance of all materials,labour charges etc complete for finished item of work as directed by Engineer-in-charge. | Civil | Labour | SWR33236 | 723 | M2 | 5639.4
493.78 | Painting with two coats of ACE paint over a coat of primer including cost and conveyance of all materials , labour charges etc. complete for finished item of work and as directed by the Engineer-in-charge. | Civil | Labour | SWR33349 | 211 | M2 | 104187.58
180.9 | Painting with two coats of OBD over a coat of primer including cost and conveyance of all materials ,labour charges etc. complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR33333 | 140 | M2 | 25326
232.6 | Painting with SuryaCem of 3 Coat including cost and conveyance of all materials , labour charges etc. complete for finished item of work as directed by the Engineer-in-charge. | Civil | Labour | SWR33329 | 83 | M2 | 19305.8
120 | Supply and fixing of fencing of welded wire mesh with support channels of 75x 40mm and angles around of 25x25x3mm including cost and conveyance of all materials ,fabrication charges,painting charges etc. complete for finished item of work as directed by the Engineer-in-charge. | Civil | Labour | SWR33403 | 2263 | M2 | 271560
5.4 | Providing Reinforced Cement shelves in CM 1:2 of 25 mmm thick over rabbit wire mesh and plastering of 12mm thick in CM 1:3 prop and including cost and conyance of all materials and labour charges etc at all floors heights etc for finished item of work excluding cost of steel and its fabrication for finished item of work. | Civil | Labour | SWR34795 | 1581 | M2 | 8537.4
18.1 | Providing RCM Drop Walls in CM 1:2 of 40mm thick over rabbit wire mesh including cost and conveyance of all meterials, labour charges, curing ,at all levels, leads and lifts, seignioage charges etc., complete, but excluding cost of steel as per the approved drawing for finished item of work as directed by the Engineer -in -charges | Civil | Labour | SWR33203 | 1839 | M2 | 33285.9
35 | Supply and fixing 25mm dia 1.5mm thick ( concealed) PVC pipe alog with reinforcement to be laid in slab including No. 14 SWG GI wire for earth contunity, cost of pipe, binding wire and all labour charges etc complete for finished item of work. | Civil | Labour | SWR33441 | 118 | M | 4130
31 | Supply and fixing 32mm dia 2mm thick ( concealed) PVC pipe in the wall including No 14 SWG GI wire for earth contunity, cost of pipe, binding wire and all labour charges etc complete for finished item of work. | Civil | Labour | SWR33442 | 88 | M | 2728
25 | S&F Flush Type Switch LP,FP,EFP NRBuild-Wiring with 2X1.0 Sqm(14/0.3mm) PVC insulated flexiable copper cable in the existing metalic/Non metalic conduit pipe with 6A mini modular SP switch, mounted on metalic box covereds with appropriate front plate modules etc ceiling rose including cot and conveyance of all mateials, labour charges complete for light points, bell points and fan points in non residential builsing except circuit moving finished in all types masonary as directed by department. | Civil | Labour | SWR33459 | 589 | EA | 14725
6 | Supply and fixing of 6A 3/2 pin flush type plug socket with 6A flush type marked switch control on a common board with earth continuity including wire leads earth connections along with all labour charges etc. complete | Civil | Labour | SWR33462 | 308 | EA | 1848
4 | Supply and fixing of 16A 3pin flush type plug socket and 16A flush type fuse unit and 16A switch control. | Civil | Labour | SWR33464 | 497 | EA | 1988
8 | Supply and fixing of slanting holders with 100W bulb with all connections and labour charges etc. complete for finished item of work and as directed by the engineer-in-charge. | Civil | Labour | SWR33484 | 137 | EA | 1096
12 | Supply and fixing of patty type tube light fitting with 4' 0" - 40W tube light,40W copper choke,starter,labour charges etc. complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR33543 | 751 | EA | 9012
150 | Supply and run of 2 of 22/.3mm(1.5Sqmm) pvc insulated flexible copper cable in the existing metalic/non-metalic conduit pipe. | Civil | Labour | SWR33496 | 70 | M | 10500
150 | Supply and run of 2 of 36/0.3 (2.5sqmm) pvc insulated flexible copper cable in the existing metalic/non-metalic conduit pipe. | Civil | Labour | SWR33497 | 97 | M | 14550
1 | Supply & fixing TPN Distribution board with IP-42 protection (Metal Door)suitable for single phase ELCB/RCCB/FP Isolator as incomer and 10kA SP 6 No.s MCBs as out going including internal connection and labour charges for surface / flush mounting etc Complete. | Civil | Labour | SWR33526 | 10804 | EA | 10804
1 | Providing independent earthing for main switches,IC cutouts and motors using 40mm. Dia. B-class G.I.Pipe of 2.5' length duly providing 12mm. Dia. 6No. Holes and required bolts,nuts and washers,including filling with equal preparation of salt and charcoal in layers and labour charges etc. complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR33596 | 3695 | EA | 3695
3 | Supply and Fixing of1200mm 48" ceiling fan of bajaj make(or equivalent make) including cost material,labour charges etc. complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR33563 | 2571 | EA | 7713
17.7 | Supply and fixing of ceramic tiles flooring 20mm CM (1:3) fantacy for dadoing including cost and conveyance of all materials,labour charges etc. complete for finished item of work as directed by the engineer-in-charge. 2 | Civil | Labour | SWR33224 | 865 | M2 | 15310.5
1 | Supply and fixing of European Water Closet of first quality conforming IS2556-part-21973 of Parry, Neycer or Hindhusthan, make with 'P' or 'S' trap etc,white glazed complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34314 | 2021 | EA | 2021
1 | PVC low level system parry ware , slim line with internal components & short ben 10 liters capacity dual flush including cost and conveyance of all materials and labour charges for finished item of work | Civil | Labour | SWR34376 | 1974 | EA | 1974
2 | Supply and Fixing 4" PVC floor trap including labour charges etc. complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34386 | 259 | EA | 518
5 | Supply,fixing110mm dia. PVC Plain Bend including cost etc. complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34380 | 96 | EA | 480
5 | Supply,fixing 110mm dia. PVC Door Bend including cost etc. complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34381 | 123 | EA | 615
1 | S&Fixing 150mm x 100mm SWG gully traps Ist class grating & constg brick masonry in CM (1:6) prop inter mediate chamber fitted with CI frame etc complete. | Civil | Labour | SWR34286 | 738 | EA | 738
20 | Supply and Fixing 90mm dia 3M Single socket PVC pipe including labour charges etc. complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34378 | 402 | M | 8040
30 | Supply,laying and jointing 152.4 mm SWG pipe including excavation of trenches etc. complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34284 | 866 | M | 25980
2 | Constructing 1'6"x 1'6" (457.2mmx457.2mm) Brick in CM(1:6) prop Masonry inspection chamber and fitted with light weight CI frame and cover etc complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34297 | 4448 | EA | 8896
Supply and Fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" ton 2" Ashirvad Flowgurard SDR 11 and SDR 13.5 pipes are made from idential CPVC compounds having the same physical Properties for Hot and Cold Water (IS 15778:2007)
100 | a)15.90mm OD Pipe - SDR 11 | Civil | Labour | SWR34361 | 206 | M | 20600
150 | b)22.20mm OD Pipe - SDR 11 | Civil | Labour | SWR34362 | 241 | M | 36150
90 | c)28.60mm OD Pipe - SDR 11 | Civil | Labour | SWR34363 | 281 | M | 25290
6 | Supply and fixing of 15mm dia. GM Ball valve including labour charges complete for finished item of work and as directed by the engineer-in-charge. | Civil | Labour | SWR34344 | 221 | EA | 1326
3 | Supply and fixing of 20mm dia. GM Ball valve including labour charges complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34345 | 319 | EA | 957
2 | Supply and fixing of 25mm dia. GM Ball valve including labour charges complete for finished item of work and as directed by the engineer-in-charge. | Civil | Labour | SWR34346 | 449 | EA | 898
40 | Supply and fixing of 12.7mm bib tap Indian make including labour charges complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34329 | 287 | EA | 11480
2 | Supply and fixing of 12.7mm dia. concealed stop cock including labour charges complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34328 | 696 | EA | 1392
1000 | Providing and placing on Terrace polyetheylene water storage tank with double layer approved brand and manufacture with cover complete for finished item of work as directed by the engineer-in-charge. | Civil | Labour | SWR34375 | 9 | L | 9000
3 | Supply and fixing of Glow sign board of size 10' x 3' including lettering,labour charges,fitting charges complete for finished item of work and as directed by the engineer-in-charge. | Civil | Labour | SWR33422 | 3553 | M2 | 10659
1 | Providing supply of electricity to the site premises through customer service centre duly applying for new connection including service wire, application fee and other missalaneous charges prescribed by APCPDCL complete for the finished item of work. | Civil | Labour | SWR33425 | 5408 | EA | 5408
2400 | Provd 2Sets of Structural Drawings | Civil | Labour | SWR33426 | 4 | FT2 | 9600
291.91 | Seigniorage Charges - Sand | Civil | Labour | SWR34470 | 40 | M3 | 11676.4
247.26 | Seigniorage Charges - Metal | Civil | Labour | SWR34471 | 97.5 | M3 | 24107.85
848 | Seigniorage Charges - Gravel | Civil | Labour | SWR34472 | 30 | M3 | 25440
1 | Providing consultancy services for arranging contour surveying with total station including preparation of boundary and contour levels with 2 No.s hard copies and soft copies complete for finished items of work. | Civil | Labour | SWR33427 | 5500 | EA | 5500
1 | Supplying & Fixing Indian make Flat Back Wash Hand Basin (HSW/Parryware/ Neycer) 1st quality conforming to IS:2556-Part-4:1972 with waste fittings like rubber plug, chain, 32 mm nominal size C.P. Fitting with parallel pipe thread conforming to IS:2963-1979 and fitted with 15 mm nominal bore Chromium Plated Pillar Tap of 1st quality Indian make 400 grams Seiko/ Senior/ Nice/ Esso or equivalent complete with standard CI brackets including wooden block: 550 x 400 mm - Single C.P. Pillar cock | Civil | Labour | SWR34316 | 1666 | EA | 1666
3 | Supply & fixing 38.1 mm C.P waste coupling Half or Full Thread 1st Quality Indian make Parryware or equivalent | Civil | Labour | SWR34428 | 271 | EA | 813
3 | Supply & fixing of (76.2 mm ) Nahany Trap ( Without Jali with inlet)UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) | Civil | Labour | SWR34388 | 117 | EA | 351
1 | SBC Test will be done by OU/JNTU 3Samples including mobilization and Demobilization of drill equipment, lab testing of bore hole samples, preperation of technical report etc., | Civil | Labour | SWR34099 | 45000 | EA | 45000
90 | S&F HDPE Pipe 76mm dia 6kg/sqcm including cost and conveyance of material and labour charges | Civil | Labour | SWR34413 | 315 | M | 28350
10 | Supply & ixing of Flange Clamps including cost and conveyance of material and labour charges | Civil | Labour | SWR34203 | 182 | EA | 1820
66 | Providing Structural steel tube box type 60x40x4mm thick including cost and conveyance of all materials, labour charges,curing etc. complete for finished item of work and as directed by the engineer-in-charge. | Civil | Labour | SWR33146 | 117 | kg | 7722
16.8 | Providing Asbestos AC sheet including cost and conveyance of all materials, labour charges,curing etc. complete for finished item of work and as directed by the engineer-in-charge. | Civil | Labour | SWR34160 | 30 | FT2 | 504
Elec Total: | [6 empty] | 4024566.01
[6 empty] | (Civil+Elecl) Total | 13100463.498
[6 empty] | GST 18% | 2358083.4296
Net total | [6 empty] | 15458546.9276
Rupees One Crore Fifty Four Lakhs Fifty Eight Thousand Five Hundred Forty Six and Paise Ninety Two Only
15458546.9276
309170.9386
309171.9386
309170.9386
309170.9386