## Contr1
SCHEDULE
Name of the work: Erection of 1No. addl 3.15MVA PTR to the existing 1X5 MVA PTRs thus making a total capacity of 1X5 MVA+1X3.15 MVA at 33/11KV Thatikunta ss in operation section Maldakal of Ieeza Sub division of Gadwal division.WBS No. T-2321-45-06-01-01-002.
|  |  | Face Value |  | 121639
Sl No | Service Code | Description of work | Qty | Unit | Rates per Unit | Amount
1 | SWR10461 | Erection of 11kv VCB | 1 | EA | 12000 | 12000
2 | SWR10199 | LOADING of 11 KV VCBs&Panel boards | 1 | EA | 1024 | 1024 |  | 3165.763
3 | SWR10517 | UNLOADING of 11 KV VCBs&Panel boards | 1 | EA | 1044.48 | 1044.48
4 | SWR10732 | Con of Plinth for 11kv VCB 1.8x1.8x0.75m | 1 | EA | 27629 | 27629
5 | SWR10424 | Fixing of Pad clamps for AB Switch | 27 | EA | 116 | 3132
6 | SWR10421 | Fixing of T- clamp | 12 | EA | 116 | 1392
7 | SWR11866 | Transport of Cond Drum,VCBs >100& <200Km | 1 | EA | 8226.3 | 8226.3
8 | SWR11771 | Erect-24V Batery with Chrgr incl grot-SS | 1 | EA | 1050 | 1050 | 7,15
9 | SWR11879 | Lay-4C/10C 2.5Sqmm Control Cable | 270 | M | 27 | 7290
10 | SWR10919 | Earthing for raisers of SS Flat 50x6 mm. | 25 | RMT | 41 | 1025
11 | SMR11607 | S-33KV HG Fuse Set excl Ins & Chnl | 1 | SET | 6431 | 6431 |  |  |  | 53656.75
12 | SWR10394 | Erect. of 33kv HG Fuseset incl earthing | 1 | SET | 1331.81 | 1331.81
13 | SWR10884 | Conn. of equip/bus single zebra/panther | 5 | EA | 224 | 1120
14 | SWR12272 | Erect-11KV AB Switch in SS | 2 | EA | 2868.75 | 5737.5
15 | SWR12271 | Erect-33KV AB Switch in SS | 1 | EA | 5342.25 | 5342.25
16 | SWR10868 | Fabrication of struc.with power drilling | 0.24 | TO | 6852 | 1644.48
17 | SMR40033 | SupCU Flexi jumper for Power T/F Neutral | 1 | EA | 4725 | 4725
18 | SMR11482 | S-CI Pipe earthing 100mm dia 2.75m long | 4 | EA | 3486 | 13944
19 | SWR10357 | ERECT. OF LINES-Providing of earthing | 4 | EA | 1234.2 | 4936.8
20 | SMR11488 | S-GI Bolts & Nuts,Washers etc., | 35 | KG | 117.5 | 4112.5
21 | SWR12331 | AB Switch Coil Earthing GI No. 8 Wire | 3 | EA | 146.63 | 439.89
22 | SWR10307 | FABR-Drilling of holes upto 20 mm dia 4 | 65 | EA | 4 | 260
23 | SWR10404 | Stringing of bus with panther conductor | 15 | M | 327.68 | 4915.2
24 | SWR10359 | ERECT. OF LINES-Providing of RCC collar | 4 | EA | 386 | 1544
25 | SWR20768 | Excavate-Pit in Soil except Hrd Rck | 3.888 | M3 | 345 | 1341.36
|  | GRAND TOTAL |  |  |  | 121638.57
Conditions :
1 | The Contractor will have provide his own labour, T&P and Sub-Transport up to 10 km at his cost and above 10 km will be paid as per SSR.
2 | The required materials will be Supplied by the TSSPDCL on free of cost except which are not available matching materials in stores. | [7 empty] | v
3 | The Contractor will be responsible for any accident to any of his workers and liability that may arise for payment of compensation under provision of act of A.P.
4 | The work shall be taken up strictly as per the Seniority and management instructions
5 | Agreement concluded with available SSR-2023-24 codes
Signature of the Contractor. |  |  |  | Superintending Engineer
Operation Gadwal.
COMPARATIVE STATEMENT
The Rates quoted by M/s Vijetha Electrical Constructions, Wanaparthy Has Quoted lowest rates. Hence accepted.
Sl No | Service Code | Description of work | Qty | Unit | SSR Rates per Unit
The Rates quoted by Mr. Ravendra Goud, Contractor, K.R.Cheruvu has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Sreenivasa Goud, Contractor, Shanthinagar has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. E.Nagendra, Contractor, Kurnool has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Vijetha Electricals, Contractor, Wanaparthy has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Harika Electricals, Contractor, Ieeza has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Praveen Kumar, Contractor, Gadwal has quoted lowest rates. Hence accepted.
| Rates quoted by the Contractor | Amount quoted by the Contractor
Sub-Total:
12.36 % Service tax: | [5 empty] | 0
Total: | [5 empty] | 0
Sri Raghavendra Goud, Civil & Electrical contractor, H. No. 2-21, K.R Cheruvu, Maldakal
Sri E.Nagendra, Contractor, Electrical & Civil Works, H. No. 40-310A, Bhagyanagar, Kurnool
M/s Vijetha Electrical Constructions, H. No. 42-187/6, Vengalrao Colony, Wanaparthy
Sri S.E.Sreenivasa Goud, Contractor, Electrical&Civil Works, Shanthinagar vg., Waddepally M

## Sheet1
1606.5
1500
3106.5
33379.81
13733.04
24403.5
71516.35
. | 68409.85